FlexTherm Eco

FlexTherm Eco is an ultra compact thermal charging station for domestic hot water or space heating. It converts electricity directly into heat and stores it for the provision of hot water. With its compact design and efficient operation, FlexTherm Eco fits in every home and is a very energy efficient appliance (energy label A+ for inactivity losses, non-removable vacuum insulation).

Due to its dual heat exchanger, the unit can either be used for dual purpose (space heating & domestic hot water) or for hydronic charging via 1 heat exchanger and providing of hot water by means of the other heat exchanger.

It is on average 3 times smaller than conventional heat storages and charges about twice as fast. Available in equivalent volumes of 85 up to 300 Liters.

Type: FlexTherm Eco 3E

Article code.: 18200

Colour: white

Packaging unit: 4

Dimensions: 360 x 570 x 445 mm

Hydronic connections: 22 mm

Energy label (by inactivity losses): A+

Energy label (combined with eletrical heater): C

Storage capacity [Tc=75 °C]: 3.5 kWh

Water content - Low power circuit (B-C): 1.3 l

Water content - Low power circuit (A-D): 2.24 l

Power - Low power circuit (B-C): 7 kW

Power - Low power circuit (A-D): 15 kW

V40, Volume of hot water available at 40 °C: 85 l

Heat loss rate 24h: 10,776 W/24h

Recommended maximum HW flow rate: 6 l/min.

Minimum cold water supply pressure at inlet to the heat battery: 1 bar

Maximum working pressure: 10 bar

Pressure loss: Kv value for the low power circuit (LPC): 1623

Pressure loss: Kv value for the high power circuit (HPC): 2871

Minimum heat source flow temperature: 65 °C

Maximum heat source flow temperature: 80 °C

Hot water outlet temperature at design flow rate: 50 - 55 °C

Heat battery controller: CC power supply rating at 230V, AC, 50Hz: 6 A

Heat battery controller: Electric heater supply rating at 230V, AC, 50Hz: 16 A

Standby power consumption: < 1.0 W

Power rating of the heater at 230V, AC, 50Hz: 2.8 kW

Weight Phase Change Material (PCM): 40 kg

Unit Nett Weight: 70 kg

Type: FlexTherm Eco 6E

Article code.: 18201

Colour: white

Packaging unit: 4

Dimensions: 360 x 570 x 645 mm

Hydronic connections: 22 mm

Energy label (by inactivity losses): A+

Energy label (combined with eletrical heater): C

Storage capacity [Tc=75 °C]: 7 kWh

Water content - Low power circuit (B-C): 2.36 l

Water content - Low power circuit (A-D): 4.48 l

Power - Low power circuit (B-C): 12 kW

Power - Low power circuit (A-D): 25 kW

V40, Volume of hot water available at 40 °C: 185 l

Heat loss rate 24h: 15,576 W/24h

Recommended maximum HW flow rate: 15 l/min.

Minimum cold water supply pressure at inlet to the heat battery: 1.5 bar

Maximum working pressure: 10 bar

Pressure loss: Kv value for the low power circuit (LPC): 1255

Pressure loss: Kv value for the high power circuit (HPC): 2356

Minimum heat source flow temperature: 65 °C

Maximum heat source flow temperature: 80 °C

Hot water outlet temperature at design flow rate: 50 - 55 °C

Heat battery controller: CC power supply rating at 230V, AC, 50Hz: 6 A

Heat battery controller: Electric heater supply rating at 230V, AC, 50Hz: 16 A

Standby power consumption: < 1.0 W

Power rating of the heater at 230V, AC, 50Hz: 2.8 kW

Weight Phase Change Material (PCM): 75 kg

Unit Nett Weight: 120 kg

Type FlexTherm Eco 9E

Article code.: 18202

Colour: white

Packaging unit: 4

Dimensions: 360 x 570 x 880 mm

Hydronic connections: 22 mm

Energy label (by inactivity losses): A+

Energy label (combined with eletrical heater): C

Storage capacity [Tc=75 °C]: 10.5 kWh

Water content - Low power circuit (B-C): 3.46 l

Water content - Low power circuit (A-D): 6.76 l

Power - Low power circuit (B-C): 18 kW

Power - Low power circuit (A-D): 35 kW

V40, Volume of hot water available at 40 °C: 300 l

Heat loss rate 24h: 17,712 W/24h

Recommended maximum HW flow rate: 20 l/min.

Minimum cold water supply pressure at inlet to the heat battery: 1.5 bar

Maximum working pressure: 10 bar

Pressure loss: Kv value for the low power circuit (LPC): 1066

Pressure loss: Kv value for the high power circuit (HPC): 1951

Minimum heat source flow temperature: 65 °C

Maximum heat source flow temperature: 80 °C

Hot water outlet temperature at design flow rate: 50 - 55 °C

Heat battery controller: CC power supply rating at 230V, AC, 50Hz: 6 A

Heat battery controller: Electric heater supply rating at 230V, AC, 50Hz: 16 A

Weight Phase Change Material (PCM): 110 kg

Standby power consumption: < 1.0 W

Power rating of the heater at 230V, AC, 50Hz: 2.8 kW

Unit Nett Weight: 170 kg